## About
CRpUNL Capacity Retired per Unit Net Loss | New York | 2024-07-22 | Alabama | AL
| NY |  | Alaska | AK
Sources: | (none) |  | Arizona | AZ
|  |  | Arkansas | AR
|  |  | California | CA
This is a calibrated parameter. It can be calibrated by aligning early-year retirements with historical retirements once other input data are in place. |  |  | Colorado | CO
|  |  | Connecticut | CT
Certain plant types are less prone to economic retirement because they are maintained for local reliability purposes. |  |  | Delaware | DE
|  |  | Florida | FL
These includes: natural gas steam turbines, natural gas peakers, and petroleum plants. For these plant types we set the |  |  | Georgia | GA
retirement fraction very low. |  |  | Hawaii | HI
|  |  | Idaho | ID
Hydro plants typically have other revenue streams and other considerations when determining whether or not to retire them, |  |  | Illinois | IL
so we assume a value of zero |  |  | Indiana | IN
|  |  | Iowa | IA
|  |  | Kansas | KS
|  |  | Kentucky | KY
|  |  | Louisiana | LA
|  |  | Maine | ME
|  |  | Maryland | MD
|  |  | Massachusetts | MA
|  |  | Michigan | MI
|  |  | Minnesota | MN
|  |  | Mississippi | MS
|  |  | Missouri | MO
|  |  | Montana | MT
|  |  | Nebraska | NE
|  |  | Nevada | NV
|  |  | New Hampshire | NH
|  |  | New Jersey | NJ
|  |  | New Mexico | NM
|  |  | New York | NY
|  |  | North Carolina | NC
|  |  | North Dakota | ND
|  |  | Ohio | OH
|  |  | Oklahoma | OK
|  |  | Oregon | OR
|  |  | Pennsylvania | PA
|  |  | Rhode Island | RI
|  |  | South Carolina | SC
|  |  | South Dakota | SD
|  |  | Tennessee | TN
|  |  | Texas | TX
|  |  | Utah | UT
|  |  | Vermont | VT
|  |  | Virginia | VA
|  |  | Washington | WA
|  |  | West Virginia | WV
|  |  | Wisconsin | WI
|  |  | Wyoming | WY

## Fuel & Prime Mover Code Lookups
Prime Mover Codes |  | Fuel Type/Energy Source Codes |  | Combined Fuel Type and Prime Mover to EPS Energy Source Lookup Table
Prime movers should only be listed when needed to divide up a single fuel type among multiple EPS energy sources.
Prime Mover Code | Prime Mover Description | Code | Energy Source Description | Fuel Type / Energy Source | Primer Mover | Concat | Model Energy Source
BA | Energy Storage, Battery | AB | Agriculture Crop Byproducts/Straw/Energy Crops | AB |  | AB | biomass
CE | Energy Storage, Compressed Air | ANT | Anthracite Coal | ANT |  | ANT | hard coal
CP | Energy Storage, Concentrated Solar Power | BFG | Blast-Furnace Gas | BFG |  | BFG | other
FW | Energy Storage, Flywheel | BIT | Bituminous Coal | BIT |  | BIT | hard coal
PS | Energy Storage, Reversible Hydraulic Turbine (Pumped Storage) | BLQ | Black Liquor | BLQ |  | BLQ | biomass
ES | Energy Storage, Other (specify in SCHEDULE 7) | CUR | Water, Current | CUR |  | CUR | hydro
ST | Steam Turbine, including nuclear, geothermal and solar steam (does not include combined cycle) | DFO | Disillate Fuel Oil (all Diesel, and No. 1, No. 2, and No. 4 Fuel Oils) | DFO |  | DFO | petroleum
GT | Combustion (Gas) Turbine (does not include the combustion turbine part of a combined cycle; see code CT, below) | GEO | Geothermal | GEO |  | GEO | geothermal
IC | Internal Combustion Engine (diesel, piston, reciprocating) | JF | Jet Fuel | JF |  | JF | petroleum
CA | Combined Cycle Steam Part | KER | Kerosene | KER |  | KER | other
CT | Combined Cycle Combustion Turbine Part | LFG | Landfill Gas | LFG |  | LFG | biomass
CS | Combined Cycle Single Shaft (combustion turbine and steam turbine share a single generator) | LIG | Lignite | LIG |  | LIG | lignite
CC | Combined Cycle Total Unit (use only for plants/generators that are in planning stage, for which specific generator details cannot be provided) | MWH | Megawatt Hour (MWh) | MSB |  | MSB | municipal solid waste
HA | Hydrokinetic, Axial Flow Turbine | MSB | Biogenic Municipal Solid Waste | MSN |  | MSN | municipal solid waste
HB | Hydrokinetic, Wave Buoy | MSN | Non-biogenic Municipal Solid Waste | MSW |  | MSW | municipal solid waste
HK | Hydrokinetic, Other (specify in SCHEDULE 7) | MSW | Municipal Solid Waste | MWH |  | MWH | other
HY | Hydroelectric Turbine (includes turbines associated with delivery of water by pipeline) | NA | Not Available at this Time | NA |  | NA | other
BT | Turbines Used in a Binary Cycle (including those used for geothermal applications) | NG | Natural Gas | NG | CA | NGCA | natural gas combined cycle
PV | Photovoltaic | NUC | Nuclear (Uranium, Plutonium, Thorium) | NG | CC | NGCC | natural gas combined cycle
WT | Wind Turbine, Onshore | OBG | Other Biomass Gases (Digester Gas, Methane, and other Biomass Gases) | NG | CE | NGCE | other
WS | Wind Turbine, Offshore | OBL | Other Biomass Liquids (Fish Oil, Liquid Acetonitrite Waste, Medical Waste, Tall Oil, ethanol, Waste Alcohol, and other Biomass Liquids not specified) | NG | CS | NGCS | natural gas combined cycle
FC | Fuel Cell | OBS | Other Biomass Solids (Animal Manure and Waste, Solid Byproducts, and Other Solid Biomass not specified) | NG | CT | NGCT | natural gas combined cycle
OT | Other (specify in SCHEDULE 7) | OG | Other Gas (Coke-Oven, Coal Processes, Butane, Refinery, Other Process) | NG | FC | NGFC | other
|  | OTH | Other (Batteries, Chemicals. Hydrogen, Pitch, Sulfur, Miscellaneous technologies) | NG | GT | NGGT | natural gas peaker
|  | PC | Petroleum Coke | NG | IC | NGIC | natural gas peaker
|  | PG | Propane | NG | OT | NGOT | other
|  | PUR | Purchased Steam | NG | ST | NGST | natural gas steam turbine
|  | RC | Refined Coal | NUC |  | NUC | nuclear
|  | RFO | Residual Fuel Oil (Include No. 5, and No. 6 Fuel Oil, and Bunker C Fuel Oil) | OBG |  | OBG | biomass
|  | SC | Coal-based Synfuel. Including briquettes, pellets, or extrusions, which are formed by binding materials or processes that recycle materials. | OBL |  | OBL | biomass
|  | SGP | Synthesis Gas from Petroleum Coke | OBS |  | OBS | biomass
|  | SGC | Coal-Derived Synthetic Gas | OG |  | OG | other
|  | SLW | Sludge waste | OTH |  | OTH | other
|  | SUB | Subbituminous Coal | PC |  | PC | petroleum
|  | SUN | Solar (Photovoltaic, Thermal) | PG |  | PG | other
|  | TDF | Tires | PUR |  | PUR | other
|  | TID | Water, Tides | RC |  | RC | hard coal
|  | WAT | Water, Conventional or Pumped Storage | RFO |  | RFO | petroleum
|  | WC | Waste/Other Coal (Culm, Gob, Coke, and Breeze) | SC |  | SC | hard coal
|  | WDL | Woos Waste Liquids (Red Liquor, Sludge Wood, Spent Sulfite Liquor, and other Wood Related Liquids not specified) | SGC |  | SGC | hard coal
|  | WDS | Wood/Wood Waste Solids (Paper Pellets, Railroad Ties, Utility Poles, Wood Chips, and Other Wood Solids) | SGP |  | SGP | other
|  | WH | Waste Heat | SLW |  | SLW | biomass
|  | WND | Wind | SUB |  | SUB | hard coal
|  | WO | Oil-Other, and Waste Oil (Butane (liquid), Crude Oil, Liquid Byproducts, Propane (liquid), Oil Waste, Re-Refined Motor Oil, Sludge Oil, Tar Oil) | SUN | CA | SUNCA | solar thermal
|  | WV | Water, Waves | SUN | CP | SUNCP | solar thermal
|  |  |  | SUN | PV | SUNPV | solar pv
|  |  |  | SUN | ST | SUNST | solar thermal
|  |  |  | TDF |  | TDF | other
|  |  |  | TID |  | TID | hydro
|  |  |  | WAT | HY | WATHY | hydro
|  |  |  | WAT | PS | WATPS | other
|  |  |  | WC |  | WC | hard coal
|  |  |  | WDL |  | WDL | biomass
|  |  |  | WDS |  | WDS | biomass
|  |  |  | WH |  | WH | other
|  |  |  | WND | WT | WNDWT | onshore wind
|  |  |  | WND | WS | WNDWS | offshore wind
|  |  |  | WO |  | WO | petroleum
|  |  |  | WV |  | WV | hydro

## Included Plant Filters
Instructions
Change the filter settings below to include or exclude certain plant types.
Filters may be specified separately for each EPS electricity source category. This capability is important for biomass, where much of the most important and cost-effective generation are non-utility CHP plants.
| Include CHP Plants? | Include Non-Utilty Plants?
hard coal | TRUE | FALSE
natural gas steam turbine | TRUE | FALSE
natural gas combined cycle | TRUE | FALSE
nuclear | TRUE | FALSE
hydro | TRUE | FALSE
onshore wind | TRUE | FALSE
solar PV | TRUE | FALSE
solar thermal | TRUE | FALSE
biomass | TRUE | TRUE
geothermal | TRUE | FALSE
petroleum | TRUE | FALSE
natural gas peaker | TRUE | FALSE
lignite | TRUE | FALSE
offshore wind | TRUE | FALSE
crude oil | TRUE | FALSE
heavy or residual fuel oil | TRUE | FALSE
municipal solid waste | TRUE | FALSE
other | TRUE | FALSE | This row exists to help prevent #N/A errors in the "Include?" columns of Form 923 and Form 860.
hard coal w CCS | TRUE | FALSE
natural gas steam turbine w CCS | TRUE | FALSE
natural gas combined cycle w CCS | TRUE | FALSE
biomass w CCS | TRUE | FALSE
natural gas peaker w CCS | TRUE | FALSE
lignite w CCS | TRUE | FALSE
small modular reactor | TRUE | FALSE
pumped hydro | TRUE | FALSE
Average Values for Existing Plants
It can be helpful to see how the average values for existing plants respond while you configure the filter settings above to ensure you get expected behavior from your filters.
Note that average heat rate values are used on the output tab BHRaSYC for vintages with no heat rate data.

## CRpUNL state calc
Unit: MW/($/MWh) | Fraction of start year capacity | state capacity | US capacity | percent state cap | US CRpUNL | State specific value
hard coal | 422.616 | 520 | 211308.1 | 0.2461% | 0.03 | 7.3826e-05
natural gas steam turbine | 7.2405 | 9571.1 | 72404.8 | 13.22% | 0.03 | 0.0039657
natural gas combined cycle | 536.647 | 9859.5 | 268323.4 | 3.674% | 0.03 | 0.0011023
nuclear | 193.001 | 4239.3 | 96500.6 | 4.393% | 0.03 | 0.0013179
hydro | 0 | 4543.2 | 79635.9 | 5.705% | 0 | 0
onshore wind | 236.004 | 1980 | 118001.8 | 1.678% | 0.03 | 0.00050338
solar PV | 91.6762 | 657.4 | 45838.1 | 1.434% | 0.03 | 0.00043025
solar thermal | 3.4958 | 0 | 1747.9 | 0% | 0 | 0
biomass | 21.656 | 198.5 | 10828 | 1.833% | 0 | 0
geothermal | 5.045 | 0 | 2522.5 | 0% | 0 | 0
petroleum | 2.4174 | 2414 | 24174.4 | 9.986% | 0 | 0
natural gas peaker | 12.7104 | 3037.1 | 127103.7 | 2.389% | 0.03 | 0.00071684
lignite | 5.2844 | 0 | 2642.2 | 0% | 0.03 | 0
offshore wind | 0.0586 | 0 | 29.3 | 0% | 0.03 | 0
crude oil | 0 | 0 | 0 | 0% | 0 | 0
heavy or residual fuel oil | 0 | 0 | 0 | 0% | 0 | 0
municipal solid waste | 3.5218 | 194.8 | 1760.9 | 11.06% | 0 | 0
hard coal w CCS | 0 | 0 | 0 | 0% | 0.03 | 0
natural gas combined cycle w CCS | 0 | 0 | 0 | 0% | 0.03 | 0
biomass w CCS | 0 | 0 | 0 | 0% | 0.03 | 0
lignite w CCS | 0 | 0 | 0 | 0% | 0.03 | 0
small modular reactor | 0 | 0 | 0 | 0% | 0.03 | 0
hydrogen combustion turbine | 0 | 0 | 0 | 0% | 0.03 | 0
hydrogen combined cycle | 0 | 0 | 0 | 0% | 0.03 | 0

## CRpUNL
Unit: MW/($/MWh) | Fraction of start year capacity
hard coal | 7.3826e-05
natural gas steam turbine | 0.0039657
natural gas combined cycle | 0.0011023
nuclear | 0.0013179
hydro | 0
onshore wind | 0.00050338
solar PV | 0.00043025
solar thermal | 0
biomass | 0
geothermal | 0
petroleum | 0
natural gas peaker | 0.00071684
lignite | 0
offshore wind | 0
crude oil | 0
heavy or residual fuel oil | 0
municipal solid waste | 0
hard coal w CCS | 0
natural gas combined cycle w CCS | 0
biomass w CCS | 0
lignite w CCS | 0
small modular reactor | 0
hydrogen combustion turbine | 0
hydrogen combined cycle | 0